Aradhya Electrical and Enterprises

At. PO. Kuranwadi (Angur), Tal, Mahol,

Dist.- Solapur -413214

Pan No –CXDPS1833F

GST No – 27CXDPS1833F1ZG

Mob No – 9921446398, 9503111572

E-mail – aradhyaele3599@gmail.com

Ref: your quotation Dated 28-01-2025

Dear Sir,

Sub: Work Order for PSI Erection Work at Antagarh TSS  and Taroki SSP

With reference to the above subject & and telephonic conversion has with you, we are pleased to place our order for PSI Equipment Erection at Antagarh TSS  and Taroki SSP of South East Central Railway, Chhattisgarh, as per the terms & conditions as under –

| Sl. No | Description | Unit | Quantity | Rate | Amount |
| --- | --- | --- | --- | --- | --- |
| 1 | Erection of 4 Meter Length Earth Electrode in Hard Soil including Drilling, Supply of Charcoal/Salt/Bentonate Clay, Earth Chamber Etc | Nos | 15 | ₹ 6,300 | 94500 |
| 2 | Erection of 4 Meter Length Earth Electrode in Soft Soil including Drilling, Supply of Charcoal/Salt/Bentonate Clay, Earth Chamber Etc | Nos | 40 | ₹ 5,000 | 200000 |
| 3 | Erection of 19/2.5 Earth Screen Wire as per RDSO guideline | Meter | 800 | ₹ 60 | 48000 |
| 4 | Erection of GI Pipe including Supply and Fixing of Clamp if Reuired | Meter | 280 | ₹ 150 | 42000 |
| 5 | Erection of Buried Rail Work (13 meter long) as per RDSO guideline | Nos | 1 | ₹ 15,000 | 15000 |
| 6 | Erection of Bull Conductor termination Arrangement as per RDSO guideline | Nos | 68 | ₹ 1,500 | 102000 |
| 7 | Erection of Earth Screen Wire Termination Arrangement as per RDSO guideline | Nos | 50 | ₹ 700 | 35000 |
| 8 | Erection and Weldig of 32 mm Dia MS Rod as Earthmat including Painting, Electricity, Excavation, Backflling etc as per RDSO guideline | Meter | 3000 | ₹ 170 | 510000 |
| 9 | Erection of 75x8 mm Flat including Painting, Electricity etc as per RDSO guideline | Meter | 2000 | ₹ 180 | 360000 |
| 10 | Erection of 150/250 Ah Battery Charger as per RDSO guideline | Nos | 2 | ₹ 3,000 | 6000 |
| 11 | Erction of Clamp and Connetors | Nos | 300 | ₹ 60 | 18000 |
| 12 | Erection of 25 KV Post Insulator as per RDSO guideline | Nos | 46 | ₹ 500 | 23000 |
| 13 | Erection of 132 KV Post Insulator as per RDSO guideline | Nos | 6 | ₹ 2,500 | 15000 |
| 14 | Erection of 6 SWG/8 SWG GI Wire for Earthing as per RDSO guideline | Nos | 250 | ₹ 30 | 7500 |
| 15 | Erection of 150/250 Ah Battery Set as per RDSO guideline | Nos | 1 | ₹ 7,000 | 7000 |
| 16 | Erection of Copper/Bull/Aluminium Jumper Wire | Meter | 500 | ₹ 150 | 75000 |
| 17 | Erection & Oil Filtration of 12.3 MVA auto Transformer with Oil BDV and water PPM Testing at Site as per RDSO guideline | Nos | 2 | ₹ 1,90,000 | 380000 |
| 18 | Erection and Oil Filtration of 8 MVA Auto Transformer Oil BDV and water PPM Testing at Site as per RDSO guideline | Nos | 1 | ₹ 1,90,000 | 190000 |
| 19 | Erection of 25 KV, 2000 A Double pole Isolator as per RDSO guideline | Nos | 9 | ₹ 5,000 | 45000 |
| 20 | Erection of 25 KV, 2000 A Double pole VCB as per RDSO guideline | Nos | 5 | ₹ 5,000 | 25000 |
| 21 | Erection of 25 KV, 2000 A Double pole Iterruptor as per RDSO guideline | Nos | 1 | ₹ 4,500 | 4500 |
| 22 | Erection of Shunt Capacitor Bank 5500 KVAR as per RDSO Guideline | Nos | 2 | ₹ 8,500 | 17000 |
| 23 | ereion of Series Reactor as per RDSO Guideline | Nos | 2 | ₹ 8,500 | 17000 |
| 24 | Erection of 132 KV Tripple pole isolator with Earth Blade | Nos | 2 | ₹ 9,000 | 18000 |
| 25 | Erection of 132 KV Tripple pole isolator without Earth Blade | Nos | 3 | ₹ 8,000 | 24000 |
| 26 | Erection of 25 KV (PT Type 2) as per RDSO guideline | Nos | 4 | ₹ 2,000 | 8000 |
| 27 | Erection of 132 KV PT as per RDSO guideline | Nos | 6 | ₹ 2,800 | 16800 |
| 28 | Erection of 132 KV CT as per RDSO guideline | Nos | 12 | ₹ 2,800 | 33600 |
| 29 | Erection of 60 KV CT as per RDSO guideline | Nos | 8 | ₹ 2,800 | 22400 |
| 30 | Erection of 25 KV CT as per RDSO guideline | Nos | 8 | ₹ 2,000 | 16000 |
| 31 | Erection of 42 KV LA with Surge Monitor as per RDSO guideline | Nos | 6 | ₹ 1,500 | 9000 |
| 32 | Erection of 60 KV LA with Surge Monitor as per RDSO guideline | Nos | 8 | ₹ 1,800 | 14400 |
| 33 | Erection of 120 KV LA with Surge Monitor as per RDSO guideline | Nos | 12 | ₹ 3,000 | 36000 |
| 34 | Erection of 132 KV SF6 TPCB as per RDSO guideline | Nos | 2 | ₹ 8,500 | 17000 |
| 35 | Erection of 50 KV SF6 DPCB as per RDSO Guideline | Nos | 4 | ₹ 5,000 | 20000 |
| 36 | Erection of 50 KV DPI as per RDSO Guideline | Nos | 4 | ₹ 6,000 | 24000 |
| 37 | Erection of 50 KV Support Insulator as per RDSO Guidelie | Nos | 8 | ₹ 1,000 | 8000 |
| 38 | Erection of 50 KVA LT Supply Transformer as per RDSO Guideline | Nos | 2 | ₹ 6,000 | 12000 |
| 39 | Cable Laying with Glanding, Termination with erection of Cable Tag as per RDSO guideline | Mtr | 18000 | ₹ 30 | 540000 |
| 40 | Erection of Control & Relay Panel as per RDSO guideline | Nos | 1 | ₹ 9,000 | 9000 |
| 41 | Erection of Control & Relay Panel for capacitor Bank as per RDSO guideline | Nos | 1 | ₹ 7,000 | 7000 |
| 42 | Erection of 230 V ACDB as per RDSO guideline | Nos | 1 | ₹ 2,000 | 2000 |
| 43 | Erection of 110 KV DCDB as per RDSO guideline | Nos | 1 | ₹ 1,500 | 1500 |
| 44 | Erection/Stringing of Bull Conductor | meter | 1500 | ₹ 100 | 150000 |
| 45 | Erection of 50 mm OD Aluminium Bus bar | Meter | 250 | ₹ 70 | 17500 |
| 46 | Erection of Steel Structure | MT | 52 | ₹ 5,800 | 301600 |
| 47 | Erection of Different type of Name Board/Coution Board/Number plate | Nos | 200 | ₹ 100 | 20000 |
| 48 | Erection of Cable Tray all type | Nos | 800 | ₹ 80 | 64000 |
|  |  |  |  |  | 36,28,3000 |

Rates are inclusive of erection of all materials require for the completion of work. GST will be paid extra at applicable rates. You must mention our Chhattishgarh GSTIN No. 22AABCT2592E2ZM in your Tax Invoice.

- GST will be charge extra at applicable rates.

- TDS will be deducted as per government rule.

Scope of work: As per above annexure, approved drawings & RDSO specifications.

Payment Terms: 95% payment will be made within 15 days from the submission of your bill along with DPR’s duly signed by our representative. Balance 5% will be paid on completion of entire work.

You will start the work as per instructions given by Texmaco Rail & Engineering Ltd. Please note that you will adhere to following:

- The rates will be inclusive of idling charge, If any.

- You will mobilize sufficient & trained manpower for timely completion of works.

- You will organize all the materials, tools, tackles, etc. No machinery/material required for the completion of works will be supplied by Texmaco Rail & Engineering Ltd.

- All works will be carried out as per the approved drawings & RDSO Specifications to the complete satisfaction of Section in-charge or representative of RVNL.

- You will adhere to Labour Laws/PF rules etc. prevailing in the country and all responsibility towards same into your account.

- Arranging labour accommodation, electricity, water & welfare facilities are in your  scope.

- You will have to co-ordinate with RVNL /Texmaco site engineer before starting the work. No variation beyond agreed quantity will be executed by you without consent from Project manager of Texmaco Rail & Engineering Ltd.

- Your labour will follow safety rules and work only after wearing safety gears such as helmet, shoes, goggles, gloves etc.

- Compliances of all statutory requirement including DPR/Measurement Sheet during the work will be in your scope.

# STANDARD TERMS & CONDITIONS-

- The sub-contractor will be responsible for returning materials or any other equipment issued to him in good condition except natural deterioration. In case of shortage/damage, same shall be recovered from the sub-contractor.

- The above contract is subjected to usual force major clauses Acts of God, Civil commotion, strikes, lock outs & reasons beyond control.

- The sub-contractor shall indemnity and keep indemnified the client and the company against all action.

- No advance will be paid to party.

TR&EL shall be entitled to terminate the contract if the Contractor.

  - Abandons the work or otherwise plainly demonstrates the intention not to continue performance of his obligations under the Contract.

  - Without reasonable excuses fails:

    - To proceed with the works

    - To comply with a notice issued for rejection or remedial works within 15 days after receiving it.

  - Subcontracts the whole of the works or assigns the Contract without the required agreement.

  - Becomes bankrupt or insolvent, goes into liquidation, has a receiving or administrative order made against him, compounds with his creditors.

  - Gives or offers to give (directly or indirectly) to any person any bribe, gift, gratuity, commission, or other things of value, as an inducement or reward:

    - For doing or forbearing to do any action in relation to any action in relation to the Contract.

    - For showing or forbearing to show favour or disfavour to any person in relation to the contractor,

    - if any of the Contractor's personnel, agent or Sub contractors gives or offers to give (directly or indirectly) to any person any such inducement or reward as is described in the sub paragraph.

  - In any of these events or circumstances, TR&EL may, upon giving 3 days' notice to the Contractor, terminate the Contract.

  - After termination, TR&EL, may complete the work and/ or arrange for any other entities to do so at the risk and cost of the Contractor.

# Suspension

- In case of any default by sub-contractor at quality of the work.

- In case of any default by sub-contractor regarding legal and labour issues.

- In case of any violation in maintaining low and order.

- In case of contractor fails in achieving the required progress.

Thanking You.

Authorized Signatory

For Texmaco Rail & Engineering Ltd.